|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Valve** | **Max flow rate** | **Diff pressure** | **Control** | **Hysteresis** | **Supply (V)** | **Contact** | **Comment** | **Price (ex. VAT)** |
| Burkert  [274910](https://www.burkert.nl/nl/products/proportionele-ventielen/proportionele-ventielen/274910?utm_source=DataSheet-2871&utm_medium=Text-Link&utm_campaign=Article-Link&utm_content=274910) | **1.2 l/min per bar!** | **Max: 10 bar** | **PWM** | **< 5%** | 24 | [0031 (0)88 1267300 (NL)](https://www.burkert.nl/nl/Contact/Contactgegevens) | **(Avaiable: 04/02/19)** | € 186,00 |
| **Parker**  [Lone Wolf](http://ph.parker.com/us/12051/en/lone-wolf-miniature-proportional-valve) | **4.2 l/min**  **(2 l/min)** | **0.69 bar**  **(0.18 bar)** | **Current, PWM** | **7%** | **3-26** | 00-31-(0)187 - 49 70 80 | **Normally Open!**  **(LW 1 B V E F 8)** | **€100 (+ €10 shipping)** |
| **Aircom**  [PVK](https://www.aircom.net/en/prop-flow-regulation/pvk,997.html)**-092** | **3 l/min** | **3.5 bar** | **Voltage** | **10%** | **5, 10, 20** | [Link](https://www.aircom.net/en/contact-23.html) | **Out of stock till:**  **Week 10 (04/03/19)** | **€109 (Germany)** |
| **Parker**  [VSO-Low Flow Miniature Proportional Valve](http://ph.parker.com/us/12051/en/vso-low-flow-miniature-proportional-valve) | **0.46 l/min** | **10.34 bar** | **Current, PWM** | **7%** | **8-24** | 00-31-(0)187 - 49 70 80 | **(910 0 0020 0 003)** | **€108,34 (+ €10 shipping)** |
| [Proporional solenoid](http://www.solenoid-valve.world/selection-guide/function/proportional/PR) | **1.1 l/min** | **Typ: 6-12**  **Max: 1-16** | **Current** | **Unknown** | **24** | **See comment** | **Website chat is quick** | **€120 (+**  €28.7 shipping UK) |
| **Asco**  **SCE202A106V**  [(Series 202)](https://www.asco.com/en-gb/Pages/solenoid-valve-series-202-posi.aspx) | **0.8 l/min** | **7 bar** | **Voltage, PWM** | **< 5%** | 12-24 | [Link](http://www.asconumatics.eu/nl/contact.html) |  | **QP** |
| **Aircom**  **PV202-004** | **5 l/min** | **10 bar** | **Voltage, current** | **<5%** | **24** | See above | **Out of stock till: week 11 (11/03/19)** | **€110 (Germany)** |

**Max gas flow rate Medos Hilite 800: 2.0 /min**

**(All above valves are NC, except Lone Wolf)**