## Slide 1: Controlled oxygen levels during machine perfusion
Ewout Bergsma
Chirurgical research laboratory UMC Groningen
Prof. dr. H.G.D. Leuvenink
Warning: this presentation includes images of real porcine kidneys and blood

## Slide 2
Note: this project only includes porcine kidneys

## Slide 3: Content
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 4: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 5: Rationale
Transplantation organs shortage
  Extended criteria
More oxygenation research
Organ preservation
  Cold storage
  Cold machine perfusion
  Warm machine perfusion
(1/3)
Notes: In 2018 almost 1200 patients were waiting for an organ, 741 of which are waiting for a kidney.
Increasing since 2015, every year.
Due to shortage; older and DCD.
IRI.
CS -> HMP, adds three years to the survival.

## Slide 6: Rationale
(2/3)
Research applications
  Innovation
  Exclusion
Notes: Normal temp better than cold
Over oxygenating is bad, [12] different kidneys have different needs

## Slide 7: “How can one build a solution for an automated system that can dynamically control the oxygen level in a kidney perfusion machine for research applications?”
What type of oxygen sensor is the best fit for the system?
How should the oxygen level be influenced by the system?
How can the system adjust for the different oxygen requirements of the kidney?
(3/3)

## Slide 8: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 9: Oxygenator
Medos Hilite 1000
  Reused
Various ports
  Warming
  Gas
  Blood
(1/3)

## Slide 10: Oxygen dissociation curve
Oxygen forms
  Gaseous oxygen
  Dissolved in the perfusion solution
  Bound to an oxygen carrier
Influenced by:
  pH
  Temperature
  CO2
Extra
Notes: Shift left:
Decrease in pH
Increase of temp
Increase of CO2

## Slide 11: Oxygen sensor types
Gaseous
  Interesting
  R. Ubbink
Dissolved
  All perfusion solutions
  Control for need?
Oximetry
  Red blood cells
(2/3)

## Slide 12: Control decision
(3/3)
Restrict carbogen flow
  Restricts CO2
Mix carbogen nitrogen
  Air

## Slide 13: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 14
(1/3)

## Slide 15: Feedback design
(2/3)

## Slide 16
(3/3)

## Slide 17: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 18: Effect of flow rate on response time sensor Design

## Slide 19: Effect of flow rate on response time sensor Results

## Slide 20: Response time sensor to different deltas Design
Blood flow: 150 ml/min
325.8 hPa/min (H. Maassen)

## Slide 21: Response time sensor to different deltas Results

## Slide 22: Nitrogen carbogen ratio Design
133.3 hPa
Different carbogen and nitrogen flows

## Slide 23: Nitrogen carbogen ratio Results

## Slide 24: Gas flow subsystem tuning Design

## Slide 25: Gas flow subsystem tuning Results

## Slide 26: Gas flow subsystem Validation

## Slide 27: Full system tuning Design

## Slide 28: Full system tuning Results

## Slide 29: Full system tuning Validation 1

## Slide 30: Full system tuning
Validation 2

## Slide 31: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 32: Discussion
Full loop tuning needs work
Temperature validation

## Slide 33: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 34: Conclusion
Dissolved oxygen sensor
Mixing carbogen and nitrogen
Stable venous

## Slide 35: Future recommendations
Research effectiveness
  Overoxygenating
  Needs of kidney
Better full loop tuning
More complex full loop control?

## Slide 36: Next up
Rationale
Situational & theoretical analysis
Conceptual model
Research design & results
Discussion
Conclusion
Questions

## Slide 37: Question?
Thanks to, UMCG:
  Prof. dr. H.G.D. Leuvenink
  Dr. C. Moers
  Dr. M.W.N. Nijsten
  All colleagues
Thanks to, Hanze:
  Corina
  Felipe