## Slide 1: What do we want?
Take better care of (ex vivo) kidneys
  Saturated
  Static
How
  Monitor metabolism
  Stear and adjust

## Slide 2: Metabolism
Breaking down and building
  Anabolism
  Catabolism
Hormones
Cellular respiration
Notes: Anabolism: Muscle, tissue, bones
Catabolism: ATP
Hormones: Steroids, Glucagon

## Slide 3: Cellular respiration
C6H12O6 + 6 O2 → 6 CO2 + 6 H2O + 38 ATP

## Slide 4: Cellular respiration
C6H12O6 + 6 O2 → 6 CO2 + 6 H2O + 38 ATP
Glucose Oxygen carbon dioxide water energy

## Slide 5: Reactive oxygen species
Oxygen radicals
  Damage DNA/RNA
  Damage membranes
  More..
(ROS not always bad)
Source: biotek.com

## Slide 6: Consequence
O2 in
O2 out
  Delta O2
CO2 produced
  Rinse
Source: medicalnewstoday.com

## Slide 7: Dissolved vs saturation
Pulse oximetry
  Requires hemoglobin
Blood gas analysis
  Sampling
  Time
Partial pressure
  oxygen dissociation curve
    pH
    Temperature
    PCO2
    Hemoglobin

## Slide 8: Type of sensor
Dissolved oxygen
  Versus gaseous
Optical
  Non-invasive
  Non-consuming
Optical dissolved oxygen sensor
Gas control
Oxygenator
Image will reappear

## Slide 9: Flow-through
Source: presens.de
Non-invasive
No contact with air
Close to SophistiKate
(Can be in-line or on-line)
Optical flow-through dissolved oxygen sensor
Source: vernier.com

## Slide 10: Sensor range
  Arterial:
    Physiological 79-100 mm Hg
    Critical 25-40 mm Hg
    Suitable range: 25-100 mm Hg
  Venous:
    Physiological 30-40 mm Hg

## Slide 11: But..
Machine perfusion ≠ physiological
Oxygen consumption kidney
  In rest 7% of the body’s oxygen is consumed by kidney
  50*0.07 = 3.5 mm Hg
  Suitable range venous: 0-100 mm Hg
CardiacOutput * (CaO2 – CvO2)?

## Slide 12: Response time
Quickest change in partial pressure?
  Consumption
  Reperfusion
  Papers
  ≠ unsaturated
Data from available experiments
  Sample rate challenge
Source: L. van Leeuwen

## Slide 13: Accuracy
Highest tolerable error
Arbitrary element challenge

## Slide 14: Machine perfusion diagram
Oxygenator
Gas control
O2
N2
%
↑O2
↑CO2
CO2 + O2 + N2
A
B
C